# WINHALL STRATTON F D 1 - VT0005305

## Consumer Confidence Report - 2024

This report is a snapshot of the quality of the water that we provided in 2024. Included are the details about where your water comes from, what it contains, and how it compares to Environmental Protection Agency (EPA) and state standards. We are committed to providing you with information because informed customers are our best allies. This report is designed to inform you about the quality water and services we deliver to you every day. To learn more, please attend any of our regularly scheduled meetings which are held on the second Saturday of January at 4:00pm. The person who can answer questions about this report is Margaret Dwyer, Stratton Water Department Senior Manager.

Telephone: 802-297-9592 or Email mdwyer@stratton.com

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place and distributing copies by hand or mail.

As required by the Lead and Copper Rule Revision, we have prepared a service line inventory. The purpose of the inventory was to determine if any of our service lines contain lead, galvanized pipe requiring removal, or unknown materials. Please contact us if you would like access to this inventory.

## Water Source Information

**Your water comes from:**

|  |  |
| --- | --- |
| Source Name | Source Water Type |
| WELL #44 | Groundwater |
| WELL #45 | Groundwater |
| WELL #46 | Groundwater |
| WELL #47 | Groundwater |
| WELL #48 | Groundwater |
| WELL #49 | Groundwater |
| WELL #17 | Groundwater |
| WELL #18 | Groundwater |
| WELL #30 | Groundwater |
| WELL #31 | Groundwater |
| WELL #33 | Groundwater |
| WELL #50 | Groundwater |
| WELL #51 | Groundwater |
| WELL #35 | Groundwater |
| WELL #38 | Groundwater |

The State of Vermont Water Supply Rule requires Public Community Water Systems to develop a Source Protection Plan. This plan delineates a source protection area for our system and identifies potential and actual sources of contamination. Please contact us if you are interested in reviewing the plan.

## Drinking Water Contaminants

The sources of drinking water (both tap water and bottled water) include surface water (streams, lakes) and ground water (wells, springs). As water travels over the land’s surface or through the ground, it dissolves naturally-occurring minerals. It also picks up substances resulting from the presence of animals and human activity. Some “contaminants” may be harmful. Others, such as iron and sulfur, are not harmful. Public water systems treat water to remove contaminants, if any are present.

In order to ensure that your water is safe to drink, we test it regularly according to regulations established by the U.S. Environmental Protection Agency and the State of Vermont. These regulations limit the amount of various contaminants:

**Microbial contaminants**, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations and wildlife  
**Inorganic contaminants**, such as salts and metals, which can be naturally-occurring or result from urban storm water runoff, industrial or domestic wastewater discharges, oil and gas production, mining or farming.  
**Pesticides and herbicides**, may come from a variety of sources such as storm water run-off, agriculture, and residential users.  
**Radioactive contaminants**, which can be naturally occurring or the result of mining activity.  
**Organic contaminants**, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and also come from gas stations, urban storm water run-off, and septic systems.

## Water Quality Data

The table below lists all the drinking water contaminants that we detected during the past year. It also includes the date and results of any contaminants that we detected within the past five years if tested less than once a year. The presence of these contaminants in the water does not necessarily show that the water poses a health risk.

**Terms and abbreviations** - In this table you may find terms you might not be familiar with. To help you better understand these terms we have provided the following definitions:

**Action Level (AL):** The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.  
**Contaminant:** Any physical, chemical, biological, or radiological substance or matter in water.  
**Corrosion Control Efforts:** Treatment (including pH adjustment, alkalinity adjustment, or corrosion inhibitor addition) or other efforts contributing to the control of the corrosivity of water, e.g., monitoring to assess the corrosivity of water.  
**Herbicide:** Any chemical(s) used to control undesirable vegetation.  
**Level 1 Assessment:** A level 1 Assessment is a study of the water system to identify potential problems and determine (if possible) why total coliform bacteria have been found in our water system.  
**Level 2 Assessment:** A Level 2 Assessment is a very detailed study of the water system to identify potential problems and determine (if possible) why an E. coli MCL violation has occurred and/or why total coliform bacteria have been found in our water system on multiple occasions.  
**Locational Running Annual Average (LRAA):** The average of sample analytical results for samples taken at a particular monitoring location during four consecutive calendar quarters.  
**Maximum Contamination Level (MCL):** The “Maximum Allowed” MCL is the highest level of a contaminant that is allowed in drinking water. MCL’s are set as close to the MCLG’s as feasible using the best available treatment technology.  
**Maximum Contamination Level Goal (MCLG):** The “Goal” is the level of a contaminant in drinking water below which there is no known or expected risk to human health. MCLG’s allow for a margin of safety.  
**Maximum Residual Disinfectant Level (MRDL):** The highest level of a disinfectant allowed in drinking water. Addition a disinfectant may help control microbial contaminants.  
**Maximum Residual Disinfectant Level Goal (MRDLG):** The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of disinfectants in controlling microbial contaminants.  
**Method Reporting Limit:** The lowest concentration of a chemical in a sample that a laboratory can reliably detect.  
**Nephelometric Turbidity Unit (NTU):** NTU is a measure of the clarity of water. Turbidity in excess of 5 NTU is just noticeable to the average person.  
**Parts per million (ppm) or Milligrams per liter (mg/l):** (one penny in ten thousand dollars)  
**Parts per billion (ppb) or Micrograms per liter (µg/l):** (one penny in ten million dollars)  
**Parts per trillion (ppt) or Nanograms per liter (ng/l):** (one penny in ten billion dollars)  
**Pesticide:** Generally, any substance or mixture of substances intended for preventing, destroying, repelling, or mitigating any pest.  
**Picocuries per liter (pCi/L):** a measure of radioactivity in water  
**Running Annual Average (RAA):** The average of 4 consecutive quarters (when on quarterly monitoring); values in table represent the highest RAA for the year.  
**Treatment Technique (TT):** A required process intended to reduce the level of a contaminant in drinking water.  
**90th Percentile:** Ninety percent of the samples are below the action level. (Nine of ten sites sampled were at or below this level).  
**Per- and polyfluoroalkyl substances (PFAS):** PFAS are a group of human-made chemicals that have been in use since the 1940s. PFAS have been found in a wide variety of consumer products and as an ingredient in firefighting foam. PFAS manufacturing and processing facilities, airports, and military installations are some of the contributors of PFAS releases into the air, soil and water. Vermont currently regulates 5 PFAS and this list includes:  
     **Perfluorononanoic Acid (PFNA)**  
     **Perfluorooctanoic Acid (PFOA)**  
     **Perfluorooctane Sulfonic Acid (PFOS)**  
     **Perfluoroheptanoic Acid (PFHpA)**  
     **Perfluorohexane Sulfonic Acid (PFHxS)**

## Detected Contaminants WINHALL STRATTON F D 1

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Disinfection Residual | RAA | RANGE | Unit | MRDL | MRDLG | Typical Source |
| Chlorine | 1.042 | 0.300 - 2.000 | mg/l | 4 | 4 | Water additive to control microbes |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Chemical Contaminants | Collection Date | Highest Value | Range | Unit | MCL | MCLG | Typical Source |
| Iron | 02/21/2023 | 0.13 | 0 - 0.13 | ppm | NA | NA | Erosion of natural deposits |
| Manganese | 02/21/2023 | 16 | 0 - 16 | ppb | NA | NA | Erosion of natural deposits. Vermont Department of Health has established a Health Advisory of 300 ppb. Manganese equal to or greater than 50 ppb can lead to unacceptable taste or staining of fixtures. |
| Nitrate | 01/23/2024 | 0.16 | 0.078 - 0.16 | ppm | 10 | 10 | Runoff from fertilizer use; Leaching from septic tanks, sewage; Erosion of natural deposits |

|  |  |
| --- | --- |
| PFAS Contaminants |  |
| Typical Source | A large group of human-made chemicals used widely in manufacturing and consumer products |
| MCL | 20 (individual or sum of the 5 regulated PFAS compounds) |
| Units | All units in parts per trillion (ppt) |
| ND | This means the contaminant was not detected at the laboratory Method Reporting Limit. |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Collection Date | PFHpA | PFNA | PFHxS | PFOA | PFOS | Sum of 5 regulated PFAS compounds |
| 12/23/2024 | ND | ND | ND | 2.24 | 6.28 | 8.52 |
| 12/10/2024 | ND | ND | ND | ND | ND | ND |
| 12/12/2023 | ND | ND | ND | ND | ND | ND |
| 12/11/2023 | ND | ND | ND | ND | ND | ND |
| 12/11/2023 | ND | ND | ND | ND | 2.68 | 2.68 |
| 10/27/2020 | ND | ND | ND | ND | ND | ND |

\*Additional PFAS, not regulated by the Vermont Water Supply Rule, may also have been detected in the past five years. Please contact us if you would like more information on other unregulated PFAS that may be in your drinking water.

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Radionuclides | Collection Date | Highest Value | Range | Unit | MCL | MCLG | Typical Source |
| Combined Radium (-226 & -228) | 01/26/2021 | 1.52 | 1.52 - 1.52 | pCi/L | 5 | 0 | Erosion of natural deposits |
| Gross Alpha Particle Activity\* | 02/20/2024 | 8.6 | 3 - 8.6 | pCi/L | NA | 0 | Erosion of natural deposits |
| Radium-228 | 01/26/2021 | 1.52 | 1.52 - 1.52 | pCi/L | 5 | 0 | Erosion of natural deposits |

\*Gross Alpha Particle Activity results are unadjusted for other radionuclide contribution, in particular Uranium. The Adjusted Gross Alpha (or AGA) result is then compared to the MCL of 15 pCi/L.

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Disinfection ByProducts | Collection Year | Sample Location | Highest LRAA | Range | Unit | MCL | MCLG | Typical Source |
| Total Trihalomethanes (TTHM) | 2024 | STRATTON MOUNTAIN SCHOOL | 51 | 51 - 51 | ppb | 80 | 0 | By-product of drinking water chlorination |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Lead and Copper | Collection Date | 90th Percentile | Range | Unit | AL\* | Sites Over AL | Typical Source |
| Lead | 12/17/2024 - 12/18/2024 | 1.5 | 0 - 14.4 | ppb | 15 | 0 | Corrosion of household plumbing systems; Erosion of natural deposits |
| Copper | 12/17/2024 - 12/18/2024 | 0.23 | 0 - 0.28 | ppm | 1.3 | 0 | Corrosion of household plumbing systems; Erosion of natural deposits |
| Lead | 05/14/2024 | 1.5 | 0 - 23.8 | ppb | 15 | 1 | Corrosion of household plumbing systems; Erosion of natural deposits |
| Copper | 05/14/2024 | 0.17 | 0.043 - 0.22 | ppm | 1.3 | 0 | Corrosion of household plumbing systems; Erosion of natural deposits |

\*The lead and copper AL (Action Level) exceedance is based on the 90th percentile concentration, not the highest detected result.  
  
\*\*Complete lead tap sampling data (i.e. each individual sample result) are available for review. Please contact us if you would like to receive this data.

## Health Information Regarding Drinking Water

Some people may be more vulnerable to contaminants in drinking water than the general population. Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants, can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. EPA/CDC guidelines on appropriate means to lessen the risk of infection by cryptosporidium and other microbiological contaminants are available from EPA’s Safe Drinking Water Hotline (1-800-426-4791).

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants. The presence of contaminants does not necessarily indicate that the water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the Safe Drinking Water Hotline or visiting the website at <https://www.epa.gov/safewater/lead>.

Lead can cause serious health problems, especially for pregnant women and young children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. WINHALL STRATTON F D 1 is responsible for providing high quality drinking water and removing lead pipes, but cannot control the variety of materials used in plumbing components in your home. You share the responsibility for protecting yourself and your family from the lead in your home plumbing. You can take responsibility by identifying and removing lead materials within your home plumbing and taking steps to reduce your family’s risk. Before drinking tap water, flush your pipes for several minutes by running your tap, taking a shower, doing laundry or a load of dishes. You can also use a filter certified by an American National Standards Institute accredited certifier to reduce lead in drinking water. If you are concerned about lead in your water and you wish to have your water tested, contact WINHALL STRATTON F D 1. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available at <https://www.epa.gov/safewater/lead>.

## Uncorrected Significant Deficiencies

The system is required to inform the public of any significant deficiencies identified during a sanitary survey conducted by the Drinking Water and Groundwater Protection Division that have not yet been corrected. For more information please refer to the schedule for compliance in the system’s Operating Permit.

|  |  |  |  |
| --- | --- | --- | --- |
| Date Identified | Significant Deficiencies | Facility | Visit Reason |
| 07/29/2015 | Test Equipment Unavailable/Inadequate or Inadequate Testing Reagent | GOLF COURSE WELLS (30, 31, 33) | Sanitary Survey |
| 07/10/2024 | Inadequate Water Quality Testing | GOLF COURSE WELLS (30, 31, 33) | Sanitary Survey |

**To be Completed by the Water System.** Equipment for continuous chlorine monitoring is in the design phase.

Public Notice - Permit to Operate Issued:The Water System is required to notify all users of the following compliance schedule contained in the Permit to Operate issued by the State of Vermont Agency of Natural Resources:

1. **To address the system’s inadequate disinfectant monitoring:**
2. **On or before August 1, 2019,** the Permittee must submit a proposed plan to the Division for review and approval that proposes installation of equipment that will enable the Permittee to monitor disinfectant residuals at the distribution entry point(s) associated with the High Meadows Treatment Facility, as required by the Rule. **In the design phase with the engineers**.
3. **On or before December 1, 2020,** the Permittee must complete installation of a continuous disinfection monitoring system at the High Meadows (TP002) Treatment Facility, according to the plan as approved by the Division per item a, above. **In the design phase with the engineers**
4. **On or before December 1, 2019,** the Permittee must complete the installation of continuous disinfection monitoring systems at Mountain (TP001) and Sunbowl (TP003) Treatment Facilities as authorized by construction permit C-3356.16.0. **Completed.**
5. **On or before February 1, 2020,** the Permittee must provide all documentation as required by construction permit C-3356.16.0. **Submitted.**
6. **To address the inadequate disinfection treatment facilities:**
7. **On or before December 1, 2019,** the Permittee must complete installation of a of flow-paced disinfectant and chemical addition controls at both the Mountain (TP001) and Sunbowl (TP003) Treatment Facilities, as authorized by construction permit C-3491-17.0 **Completed.**
8. **On or before February 1, 2020,** the Permittee must provide all documentation as required by construction permit C-3491-17.0. **Submitted.**
9. **To address the inadequate Corrosion Control Treatment facilities:**
10. **On or before December 1, 2019,** the Permittee must complete installation of a of flow-paced metering pump controls at both the Mountain (TP001) and Sunbowl (TP003) Treatment Facilities, as authorized by construction permit C-3491-17.0. **Completed.**
11. **On or before February 1, 2020,** the Permittee must provide all documentation as required by construction permit C-3491-17.0. **Submitted.**
12. **To address the Water System’s inadequate distribution hydraulics:**
13. **On or before August 1, 2019**, the Permittee shall submit a plan and schedule to conduct a pressure study of the distribution system. This plan shall include field deployment of pressure transducers and associated dataloggers capable of continuously monitoring and recording hydraulic pressure data from locations in the distribution system during typical water use and peak user demand periods. **With the engineers. A hydraulic model already exists. The engineer is updating the model.**
14. **On or before December 31, 2020,** the Permittee shall provide the Division a report that documents the pressure study performed per item a) above, describes the data obtained from this study, documents any deficiencies identified during the study, and provides the collected data as an attachment. **With the engineers. A hydraulic model already exists. The engineer is updating the model.**
15. **On or before December 31, 2020,** the Permittee shall update the Water System’s existing hydraulic model using the data obtained from the pressure study performed per item a) above. The Permittee shall provide written documentation to the Division that describes the results obtained from the updated hydraulic model. **With the engineers. A hydraulic model already exists. The engineer is updating the model.**
16. **On or before July 1, 2021**, the Permittee shall submit a comprehensive service area map to the Division that depicts each pressure zone associated with the Water System, the minimum and maximum hydraulic pressures associated with expected operating conditions, including both routine water demand and fire flow conditions, within each pressure zone, and identifies the geographic boundary that each pressure zone can provide water service to while meeting the requirement of the Rule. **With the engineers. A hydraulic model already exists. The engineer is updating the model.**
17. **On or before February 1, 2020,** the Permittee shall submit an O&M Manual to the Division for review and approval that meets the requirements of Appendix D of the Rule. **An O & M Manual already exists. The engineer will update it with the new pH adjustment systems.**
18. **On or before July 1, 2019**, the Permittee must repair the conduit for Well #31 (WL006). **Repaired**.
19. **On or before July 1, 2019,** the Permittee must perform necessary repairs to improve the grading around the well casing of Well #18 (WL003). **Repaired.**

**To be completed by the Water System:** see comments in **Boldface** following each line item.